## Labview CAL Surgery
Labview Calibration
| Calibration Filename |  |  | .ini and .cfg | Acq Freq: | 10000
Subject ID:
PatientID Lvchannel EMGwire muscle limb pre/post
Test Date: |  |  |  | example:
0001solLpre
Prepared By: |  |  |  |  | 0001solLpost
| LEFT |  |  |  | RIGHT
| BNC channel | Muscle | EMG Wire | Cal | BNC channel | Muscle | EMG Wire | Cal
| 16 | L SOL | 1 |  | 17 | R SOL | 2
| 18 | L MG | 3 |  | 19 | R MG | 4
| 20 | L TA | 5 |  | 21 | R TA | 6
| 22 | L MH | 7 |  | 23 | R MH | 8
| 32 | L VL | 9 |  | 33 | R VL | 10
| 34 | L RF | 11 |  | 35 | R RF | 12
| 36 | --- | 13 |  | 37 | --- | 14
| 38 | L IL | 15 |  | 39 | R IL | 16
|  | backup wire |  |  |  | backup wire
EMG Calibration is |  |  | instead of 2000 |  |  | GAIN USED
CAL
SMPTE |  | -
MEDTRONIC |  | 49
CAP |  | 48

## Laminated CARD HEADERS
I. Wide Tests - Midline
A. Rostral: 5- // 10+
B. Caudal: 10- // 9+
*** If no response on IIA move to IIB for wider fields (otherwise skip IIB)
IIa. Rostral Middle Caudal Tests - Midline
A. Rostral: 5- // 6+
B. Rostral: 6- // 5+
C. Middle: 7- // 8+
D. Middle: 8- // 7+
E. Caudal: 9- // 10+
F. Caudal: 10- // 9+
IIb. Rostral Caudal Wide field Tests
A. Rostral Wide: | 0- 5- 11- // 4+ 10+ 15+
B. Caudal Intermediate: | 2- 7- 13- // 4+ 10+ 15+
C. Caudal Wide: | 4- 10- 15- // 0+ 5+ 11+
D. Rostral Intermediate: | 2- 8- 13- // 0+ 5+ 11+
*** If no response on IIIa move to IIIb for wider fields (otherwise skip IIIb)
IIIa. Rostral Middle Caudal Tests - Left/Right
A. Rostral Left: | 0- // 5+
B. Rostral Right: | 11- // 5+
C. Rostral (lower) Left: | 1- // 6+
D. Rostral (lower) Right: | 12- // 6+
E. Middle Left: | 2- // 7+
F. Middle Right: | 13- // 7+
G. Middle (lower) Left: | 3- // 8+
H. Middle (lower) Right: | 14- // 8+
I. Caudal Left: | 4- // 9+
J. Caudal Right: | 15- // 9+
IIIb. Rostral Caudal Wide Tests - Left/Right
A. Rostral Left: | 0- // 4+
B. Rostral Right: | 11- // 15+
C. Middle Left: | 0- // 2+
D. Middle Right: | 11- // 13+
E. Caudal Left: | 4- // 0+
F. Caudal Right: | 15- // 11+
G. Caudal Left: | 2- // 0+
H. Caudal Right: | 13- // 11+

## Green Protocol
|  |  | MRI Dates: |  | TIMES
"TIME OUT":
| WHITE STIM WIRE = 0 - 7 |  |  | SURGERY START:
ACQUISITION START:
ACQUISITION END:
SURGERY END:
Fluroscopy Image Taken | ATTEMPT # | Labview Filename | ELECTRODE CONFIG | EMG ACTIVATION PATTERN | OTHER NOTES
REPOSITION?
REPOSITION?
REPOSITION?
REPOSITION?
REPOSITION?
REPOSITION?
REPOSITION?
REPOSITION?
REPOSITION?
REPOSITION?
REPOSITION?
REPOSITION?
REPOSITION?
REPOSITION?
REPOSITION?
REPOSITION?
REPOSITION?
REPOSITION?
REPOSITION?
REPOSITION?
CHECKLIST:
| o | Obtain fluoroscopy of final electrode location with view of IPG
| o | Confirm surgical prophylaxis will be extended to 48 hours
| o | Confirm impedances of electrodes
| o | Obtain FDA CRF from anesthesiologist and leave in patient chart. Research nurse should obtain CRF at discharge.